# Safety Procedure Update

Issued: February 12, 2025. This memo revises the Laboratory Safety SOP.

# Emergency Equipment

With effect from March 1, 2025, eyewash stations must be tested every day.

# Spill Response

Spills larger than 250 mL must be reported to the Safety Officer within 30 minutes.